## Intuition Guide
Intuition Guide - 2_Peaker
LOTUS INFRASTRUCTURE PARTNERS
CASE STUDY: SIMPLE CYCLE GAS TURBINE (PEAKER) ACQUISITION
TIME: 4 Hours ¦ DATE: January 2026 ¦ DELIVERABLES: Model + IC Memo
--- MODEL TIMELINE ---
Year 0 (2025): Transaction close Q4
Year 1 (2026): First full year; start-based maintenance tracking
Year 5 (2030): Potential hot gas path inspection
Year 7 (2032): Target exit / debt maturity
Year 10 (2035): Model horizon end
--- SITUATION ---
Lotus Infrastructure Partners is evaluating a 200 MW simple-cycle gas turbine peaking facility in NYISO Zone J (New York City). The plant is 8 years old with approximately 2,500 equivalent operating starts.
Zone J has strong capacity prices due to transmission constraints. The facility provides reliability during summer peaks and winter cold snaps. It operates approximately 400 hours per year with revenue heavily weighted to capacity payments (~70% of total).
The 10,500 Btu/kWh heat rate is higher than CCGT but acceptable for peaking duty. Recent planning studies indicate potential capacity additions over 3-5 years including offshore wind and battery storage.
The seller is asking $95mm with bids due by January 31, 2026.
--- KEY VALUE DRIVERS ---
* Capacity Price: Peakers earn 70%+ of revenue from capacity auctions
* Dispatch Hours: Annual run hours drive energy revenue and fuel cost
* Starts: Each start costs money and accelerates maintenance
* Availability: UCAP derate risk if availability drops below threshold
--- STEP-BY-STEP MODEL BUILDING GUIDE ---
STEP-BY-STEP MODEL BUILDING GUIDE FOR PEAKERS
KEY DIFFERENCE: Generation = Capacity x Dispatch Hours x Availability
(NOT Capacity x CF x 8,760 like CCGT!)
1. SET UP INPUTS
- Capacity: 200 MW
- Heat Rate: 10,500 Btu/kWh (worse than CCGT)
- Availability: 94% (mechanical availability, not CF)
- FOR: 5% (for UCAP derate)
- Dispatch Hours: 400 hrs/yr
- Starts per Year: ~50-100
2. BUILD GENERATION
Generation = Capacity x Dispatch Hours x Availability
= 200 MW x 400 hrs x 0.94 = 75,200 MWh
3. CAPACITY REVENUE IS DOMINANT
UCAP = Capacity x (1 - FOR) = 200 x 0.95 = 190 MW
Capacity Revenue = UCAP x $/kW-yr x 1000 / 1E6
Verify: Capacity should be ~70% of total revenue
4. DEBT STRUCTURE
50% cash sweep (vs 75% for CCGT)
- Preserve flexibility for lumpy maintenance
- Peaker cash flows more volatile
--- HOW TO AVOID CIRCULARITY ---
Same approach as CCGT - use Scheduled DS for DSRA Target to avoid circularity.
--- ALTERNATIVE SCENARIOS ---
ALTERNATIVE SCENARIOS
A. Ancillary Services Revenue:
- Spinning/non-spinning reserves
- Can be 10-15% of total revenue
B. Black Start Capability:
- Premium for grid restoration
- Adds contracted revenue
C. Capacity Contract vs Merchant:
- Different risk profile
- Affects debt sizing
--- QA CHECKS ---
QA CHECKS
1. Capacity revenue should be 60-75% of total (peaker profile)
2. Generation = Dispatch Hours x Availability (NOT CF x 8760)
3. Energy margin may be negative in some hours (heat rate penalty)
4. DSCR >= 1.25x during debt tenor
--- HINTS & PITFALLS ---
* Capacity is ~70% of revenue - focus sensitivity there
* Each start costs money plus accelerates maintenance
* Zone J premium can erode if storage/transmission added
* Don't model generation as CF x 8760 - use Dispatch Hours
--- INTERVIEW QUESTIONS ---
Q: How would 100 MW of battery storage in Zone J affect capacity prices?
Q: Walk me through starts-based vs hours-based maintenance.
Q: Why is availability so critical for peaker economics?
Q: How would you model the revenue mix between capacity and energy?
═══════════════════════════════════════════════════════════════════════
COLD START WORKFLOW (4-Hour Test)
Phase 1: Setup (15 min)
→ Create workbook, freeze panes at E2
→ Set column widths: A=32, B=12, C=38, D-N=14
→ Build year headers: Y0 (2025), Y1 (2026), ... Y10 (2035)
→ Create section placeholders with ═══ dividers
Phase 2: Inputs & S&U (30 min)
→ Transaction: Entry EV, Fees %, Exit Multiple, Exit Year
→ Asset: Capacity, CF/Dispatch, Prices, Escalation
→ Financing: Leverage, Rate, Tenor, DSRA months, Sweep %
→ Build Uses first, then Sources (balancing item = equity)
Phase 3: Operating Model (45 min)
→ Generation = Capacity × CF × 8760 (baseload) OR Capacity × Dispatch × Avail (peaker)
→ Revenue = Generation × Price / 1E6 (careful: capacity $/kW needs ×1000)
→ Fuel = Gen × HR × Gas / 1E9 (CRITICAL: divide by BILLION)
→ EBITDA = Revenue - OpEx
→ Taxes = MAX(0, Taxable Income) × Rate (no negative taxes!)
Phase 4: Debt Schedule (45 min)
→ Beginning Bal Y1 = Funded Debt; Yn = Prior Ending
→ Interest = Beg Bal × Rate
→ Principal: Straight-line OR Sculpted OR Sweep
→ DSCR = CFADS / Debt Service
→ DSRA Target = NEXT year's DS × (months/12) [TRAP: not current year!]
Phase 5: Exit & Returns (30 min)
→ Exit EV = Exit EBITDA × Multiple
→ Exit Equity = Exit EV - Debt Payoff + DSRA Release
→ Equity CF row: Y0 = -Entry Equity, Y1-n = Distributions, Exit Year += Exit Equity
→ IRR = IRR(Y0:Y10 equity CFs)
→ MOIC = (Distributions + Exit) / Entry Equity
Phase 6: QA & Polish (15 min)
→ S&U Balance Check = PASS
→ Debt Payoff Check = PASS (ending bal < $1mm)
→ Min DSCR Check = PASS (≥1.25x merchant, ≥1.30x contracted)
→ Sanity: DSCR 1.2-2.5x, IRR 12-25%, Fuel $30-50mm (CCGT)
4-HOUR TIME BUDGET
Setup & Structure | 15 min | Workbook, headers, freeze panes
Transaction Inputs | 15 min | EV, fees, leverage, rates
Sources & Uses | 15 min | Uses first, equity = balancing
Operating Model | 45 min | Revenue, costs, EBITDA
Depreciation & Tax | 15 min | Straight-line, MAX(0) guardrail
Debt Schedule | 45 min | Amort, interest, DSCR
DSRA (if needed) | 15 min | Target = NEXT year DS
Waterfall & Returns | 30 min | Distributable, IRR, MOIC
Exit Mechanics | 15 min | Exit EV, debt payoff, equity
QA & Sanity Checks | 15 min | Balance, DSCR, #REF sweep
Buffer / Iterate | 15 min | Fix issues, polish
TOTAL | 4:00
DEBT SIZING APPROACHES
1. STRAIGHT-LINE (Simplest)
Principal = Debt Amount / Tenor
Best for: Quick models, Model_Quick, when told 'ignore sweep'
Pros: No circularity, fast to build
Cons: May not reflect economic reality
2. CASH SWEEP (Merchant)
Sweep = Excess Cash × Sweep% (Excess = CFADS - DS - DSRA)
Best for: Merchant assets, volatile CFADS
Pros: Realistic for bank debt, de-levers faster
Cons: Requires DSRA logic, near-circular (use scheduled_ds trick)
3. SCULPTED (Contracted)
Target DS = CFADS / Target DSCR; Principal = Target DS - Interest
Best for: PPAs, regulated assets, predictable CFADS
Pros: Maximizes debt capacity, matches CF profile
Cons: More complex, requires CFADS forecast first
KEY FORMULA CONCEPTS
SPARK SPREAD (Thermal Plants)
= Power Price ($/MWh) - Fuel Cost per MWh
= Power Price - (Heat Rate × Gas Price / 1000)
Example: $45/MWh - (7000 Btu/kWh × $3/mmBtu / 1000) = $45 - $21 = $24/MWh
Core margin driver for CCGT/Peaker dispatch economics
UCAP (Unforced Capacity)
= Nameplate Capacity × (1 - Forced Outage Rate)
= 365 MW × (1 - 5%) = 346.75 MW
Capacity revenue uses UCAP, not nameplate
Capacity Price is $/kW-yr, so: UCAP × Price × 1000 / 1E6
LLCR / PLCR (Project Finance)
LLCR = NPV(CFADS over loan life) / Debt Outstanding
PLCR = NPV(CFADS over project life) / Debt Outstanding
LLCR ~1.4x+ typical for investment grade
Covenant-based lending uses these vs DSCR

## Case Prompt
CASE STUDY: Peaker ACQUISITION
Time: 4 hours ¦ Deliverables: Model + IC Memo
SITUATION
200 MW peaker in NYISO Zone J at $95mm.
KEY QUESTIONS
1. What levered IRR at indicative price?
2. Downside DSCR under stress?
3. Key diligence items?
4. Protections to negotiate?

## IC Memo
IC MEMO - COACHING FRAMEWORK
1. EXECUTIVE SUMMARY
Tip: Lead with IRR and recommendation
[Your answer: ___________]
2. TRANSACTION OVERVIEW
Tip: Sources & uses, debt terms
[Your answer: ___________]
3. INVESTMENT THESIS
Tip: 3-4 bullets on attractiveness
[Your answer: ___________]
4. KEY RISKS
Tip: Market, operational, regulatory
[Your answer: ___________]
5. MITIGANTS
Tip: Hedging, contracts, structure
[Your answer: ___________]
6. SENSITIVITIES
Tip: ±10-20% on key inputs
[Your answer: ___________]
7. RECOMMENDATION
Tip: Clear yes/no with walk-away price
[Your answer: ___________]

## Model_Quick
Model_Quick - Peaker (90-min build)
|  |  | Y0 (2025) | Y1 (2026) | Y2 (2027) | Y3 (2028) | Y4 (2029) | Y5 (2030) | Y6 (2031) | Y7 (2032) | Y8 (2033) | Y9 (2034) | Y10 (2035)
═══ KEY METRICS ═══
Entry EV | $mm
Debt % | %
Y1 EBITDA | $mm
Levered IRR | %
MOIC | x
═══ TRANSACTION INPUTS ═══
Entry EV | $mm |  | 150
Transaction Fees | % |  | 0.015
Exit Multiple | x |  | 6.5
Exit Year | yr |  | 5
═══ ASSET INPUTS ═══
Capacity | MW |  | 365
Capacity Factor | % |  | 0.55
Y1 EBITDA | $mm |  | 22
EBITDA Escalation | % |  | 0.02
═══ FINANCING INPUTS ═══
Leverage | % |  | 0.6
Interest Rate | % |  | 0.07
Debt Tenor | yrs |  | 5
═══ SOURCES & USES ═══
USES:
Purchase Price
Transaction Fees
Total Uses
SOURCES:
Funded Debt
Entry Equity
Total Sources
Balance Check
═══ OPERATING MODEL ═══
EBITDA | $mm | Y1 input, then escalated
═══ DEBT SCHEDULE (Straight-Line) ═══
Beginning Balance | $mm
Interest | $mm
Principal | $mm | Straight-line: Debt / Tenor
Ending Balance | $mm
═══ RETURNS ═══
Exit Year EBITDA | $mm
Exit EV | $mm
Exit Debt Payoff | $mm
Exit Equity Proceeds | $mm
Equity Cash Flow | $mm
Levered IRR | %
MOIC | x

## Model_Standard
Peaker Model - Lotus Infrastructure Partners |  |  | Y0 (2025) | Y1 (2026) | Y2 (2027) | Y3 (2028) | Y4 (2029) | Y5 (2030) | Y6 (2031) | Y7 (2032) | Y8 (2033) | Y9 (2034) | Y10 (2035)
═══ AUDIT STRIP ═══
Entry EV | $mm
Y1 EBITDA | $mm
═══════════ CONTROL PANEL ═══════════
REVENUE
Revenue Mode |  | Merchant / Contracted / Hybrid | Merchant
Contract End Year |  | 0 = pure merchant; else year PPA ends | 0
TIMING
Exit Year |  | 5 / 7 / 10 | 7
Tax Credit End Year |  | 0 = N/A; else last year of PTC/ITC | 0
DEBT
Debt Sweep |  | ON / OFF (for sweep assets) | ON
Sweep % |  | Active when Sweep = ON | 75%
OTHER
Carbon Region |  | None / CARB / RGGI (thermal only) | None
Exit Method |  | Multiple / DCF | Multiple
════════════════════════════════════
Debt Payoff Y7
Min DSCR ≥ 1.25x
TRANSACTION INPUTS
Entry EV | $mm | Purchase price | 110
Transaction Fees | % | Legal, advisory, financing | 1.5%
Exit Multiple | x | On exit year EBITDA | 7
Exit Year | # | Hold period | 7
ASSET INPUTS
Capacity | MW | Nameplate rating | 200
Heat Rate | Btu/kWh | Less efficient than CCGT | 10500
Availability | % | For UCAP accreditation | 94%
Forced Outage Rate | % | Unplanned downtime | 5%
Dispatch Hours | hours/yr | Peak hours only (~400) | 400
PRICING INPUTS
Power Price Y1 | $/MWh | Higher (dispatch-weighted) | 95
Capacity Price Y1 | $/kW-yr | ICAP/RPM result | 60
Gas Price Y1 | $/mmBtu | Henry Hub + basis | 3.25
Escalation | %/yr | Applied to all prices/costs | 2.5%
COST INPUTS
VOM | $/MWh | Variable O&M | 4
FOM | $/kW-yr | Fixed O&M | 12
Major Maintenance Year | # | Hot gas path inspection | 5
Major Maintenance Cost | $mm | HGP inspection cost | 4
FINANCING INPUTS
Leverage | % | Debt / Entry EV (lower) | 30%
Interest Rate | % | All-in borrowing cost | 7%
Debt Tenor | years | Amortization period | 7
DSRA Months | months | Debt service reserve | 6
Cash Sweep % | % | Lower for maint reserves | 50%
Lock-up DSCR | x | Distribution threshold | 1.1
TAX INPUTS
Tax Rate | % | Blended federal + state | 25%
Depreciable Basis | % | % of EV for depreciation | 85%
Depreciation Life | years | Straight-line | 15
CALCULATED ITEMS
UCAP (Unforced Capacity) | MW | Capacity × (1 - FOR)
Annual Generation | MWh | Capacity × Hours × Avail
Debt Amount | $mm | Entry EV × Leverage
Annual Depreciation | $mm | EV × Basis / Life
Scheduled Principal | $mm/yr | Debt / Tenor
OPERATING MODEL
Power Price | $/MWh | Escalated
Capacity Price | $/kW-yr | Escalated
Gas Price | $/mmBtu | Escalated
Energy Revenue | $mm | Generation × Power Price / 1M
Capacity Revenue | $mm | UCAP × Cap Price × 1000 / 1M
Total Revenue | $mm
Fuel Cost | $mm | Gen × HR × Gas / 1B
Spark Spread | $/MWh | [WHAT] Spark Spread = Power Price - (Plant HR × Gas / 1000) [WHY] Gross margin per MWh after fuel. Core driver of thermal profitability. [RMHR EQUIVALENCE - For Interview Discussion] Traders express this as "Market Heat Rate": RMHR = Power / Gas × 1000 If RMHR > Plant HR → "In the money" → Dispatch Spark Spread = (RMHR - Plant HR) × Gas / 1000 Same math, different framing. Use Spark Spread in model (simpler). [EXAMPLE] Power=$50, Gas=$5, HR=7000 RMHR = 50/5 × 1000 = 10,000 Btu/kWh Spread = 10,000 - 7,000 = 3,000 Btu/kWh Spark = 3,000 × $5 / 1000 = $15/MWh ✓ (Or directly: $50 - 7×$5 = $15/MWh) [UNITS] $/MWh - (Btu/kWh × $/MMBtu / 1000) = $/MWh ✓
VOM | $mm | Generation × VOM rate / 1M
FOM | $mm | Capacity × FOM × esc × 1000 / 1M
Total Operating Costs | $mm
EBITDA | $mm
CASH FLOW
EBIT | $mm | EBITDA - Depreciation
Taxes | $mm | MAX(0, EBIT) × Tax Rate
Major Maintenance | $mm | HGP in specified year
CFADS | $mm | EBITDA - Taxes - Maint
DEBT SCHEDULE (50% Cash Sweep)
Beginning Balance | $mm
Interest | $mm | Beg Bal × Int Rate
Scheduled Principal | $mm | MIN(Sched, Beg Bal)
Debt Service (Pre-Sweep) | $mm | Interest + Sched Prin
Excess Cash | $mm | CFADS - DS - DSRA Funding
Cash Sweep | $mm | MIN(Excess×50%, Beg-Sched)
Total Principal | $mm | Scheduled + Sweep
Ending Balance | $mm | MAX(0, Beg - Total Prin)
DSCR | x | CFADS / Debt Service
Scheduled DS (for DSRA) | $mm | Based on straight-line amort
DSRA (Debt Service Reserve Account)
DSRA Target | $mm | Next Yr Scheduled DS × DSRA Months / 12
DSRA Beginning | $mm
DSRA Funding/(Release) | $mm | Target - Beginning
DSRA Ending | $mm | Beginning + Funding
DISTRIBUTION WATERFALL
Cash Available for Distribution | $mm | CFADS - Total DS - DSRA Fund
Lock-up Test |  | PASS if DSCR ≥ Lock-up
Distributable Cash | $mm | If PASS, MAX(0, Cash Avail)
SOURCES & USES (Year 0)
USES
Purchase Price | $mm
Transaction Fees | $mm
DSRA Funding | $mm
Total Uses | $mm
SOURCES
Debt | $mm
Equity | $mm | Plug to balance
Total Sources | $mm
Balance Check
EXIT CALCULATIONS
Exit EV | $mm | Exit Multiple × Exit Yr EBITDA
Exit Debt Payoff | $mm | Ending Bal at Exit
DSRA Release | $mm | DSRA Ending at Exit
Exit Equity Proceeds | $mm | Exit EV - Debt + DSRA
EQUITY RETURNS
Equity Cash Flow | $mm
Levered IRR | %
MOIC | x | Sum inflows / outflow
Unlevered Returns (for reference)
Unlevered Cash Flow | $mm
Unlevered IRR | %
Note on A82: SPARK SPREAD Profit per MWh after fuel cost. = Power Price - (HR × Gas / 1000) Traders call this "heat rate spread": If Market HR > Plant HR → Profitable Think: "Call option on scarcity"

## Model_Full
Peaker Model - Lotus Infrastructure Partners |  |  | Y0 (2025) | Y1 (2026) | Y2 (2027) | Y3 (2028) | Y4 (2029) | Y5 (2030) | Y6 (2031) | Y7 (2032) | Y8 (2033) | Y9 (2034) | Y10 (2035)
═══ AUDIT STRIP ═══
Entry EV | $mm
Y1 EBITDA | $mm
═══════════ CONTROL PANEL ═══════════
REVENUE
Revenue Mode |  | Merchant / Contracted / Hybrid | Merchant
Contract End Year |  | 0 = pure merchant; else year PPA ends | 0
TIMING
Exit Year |  | 5 / 7 / 10 | 7
Tax Credit End Year |  | 0 = N/A; else last year of PTC/ITC | 0
DEBT
Debt Sweep |  | ON / OFF (for sweep assets) | ON
Sweep % |  | Active when Sweep = ON | 75%
OTHER
Carbon Region |  | None / CARB / RGGI (thermal only) | None
Exit Method |  | Multiple / DCF | Multiple
════════════════════════════════════
Debt Payoff Y7
Min DSCR ≥ 1.25x
TRANSACTION INPUTS
Entry EV | $mm | Purchase price | 110
Transaction Fees | % | Legal, advisory, financing | 1.5%
Exit Multiple | x | On exit year EBITDA | 7
Exit Year | # | Hold period | 7
ASSET INPUTS
Capacity | MW | Nameplate rating | 200
Heat Rate | Btu/kWh | Less efficient than CCGT | 10500
Availability | % | For UCAP accreditation | 94%
Forced Outage Rate | % | Unplanned downtime | 5%
Dispatch Hours | hours/yr | Peak hours only (~400) | 400
PRICING INPUTS
Power Price Y1 | $/MWh | Higher (dispatch-weighted) | 95
Capacity Price Y1 | $/kW-yr | ICAP/RPM result | 60
Gas Price Y1 | $/mmBtu | Henry Hub + basis | 3.25
Escalation | %/yr | Applied to all prices/costs | 2.5%
COST INPUTS
VOM | $/MWh | Variable O&M | 4
FOM | $/kW-yr | Fixed O&M | 12
Major Maintenance Year | # | Hot gas path inspection | 5
Major Maintenance Cost | $mm | HGP inspection cost | 4
FINANCING INPUTS
Leverage | % | Debt / Entry EV (lower) | 30%
Interest Rate | % | All-in borrowing cost | 7%
Debt Tenor | years | Amortization period | 7
DSRA Months | months | Debt service reserve | 6
Cash Sweep % | % | Lower for maint reserves | 50%
Lock-up DSCR | x | Distribution threshold | 1.1
TAX INPUTS
Tax Rate | % | Blended federal + state | 25%
Depreciable Basis | % | % of EV for depreciation | 85%
Depreciation Life | years | Straight-line | 15
CALCULATED ITEMS
UCAP (Unforced Capacity) | MW | Capacity × (1 - FOR)
Annual Generation | MWh | Capacity × Hours × Avail
Debt Amount | $mm | Entry EV × Leverage
Annual Depreciation | $mm | EV × Basis / Life
Scheduled Principal | $mm/yr | Debt / Tenor
OPERATING MODEL
Power Price | $/MWh | Escalated
Capacity Price | $/kW-yr | Escalated
Gas Price | $/mmBtu | Escalated
Energy Revenue | $mm | Generation × Power Price / 1M
Capacity Revenue | $mm | UCAP × Cap Price × 1000 / 1M
Total Revenue | $mm
Fuel Cost | $mm | Gen × HR × Gas / 1B
Spark Spread | $/MWh | [WHAT] Spark Spread = Power Price - (Plant HR × Gas / 1000) [WHY] Gross margin per MWh after fuel. Core driver of thermal profitability. [RMHR EQUIVALENCE - For Interview Discussion] Traders express this as "Market Heat Rate": RMHR = Power / Gas × 1000 If RMHR > Plant HR → "In the money" → Dispatch Spark Spread = (RMHR - Plant HR) × Gas / 1000 Same math, different framing. Use Spark Spread in model (simpler). [EXAMPLE] Power=$50, Gas=$5, HR=7000 RMHR = 50/5 × 1000 = 10,000 Btu/kWh Spread = 10,000 - 7,000 = 3,000 Btu/kWh Spark = 3,000 × $5 / 1000 = $15/MWh ✓ (Or directly: $50 - 7×$5 = $15/MWh) [UNITS] $/MWh - (Btu/kWh × $/MMBtu / 1000) = $/MWh ✓
VOM | $mm | Generation × VOM rate / 1M
FOM | $mm | Capacity × FOM × esc × 1000 / 1M
Total Operating Costs | $mm
EBITDA | $mm
CASH FLOW
EBIT | $mm | EBITDA - Depreciation
Taxes | $mm | MAX(0, EBIT) × Tax Rate
Major Maintenance | $mm | HGP in specified year
CFADS | $mm | EBITDA - Taxes - Maint
DEBT SCHEDULE (50% Cash Sweep)
Beginning Balance | $mm
Interest | $mm | Beg Bal × Int Rate
Scheduled Principal | $mm | MIN(Sched, Beg Bal)
Debt Service (Pre-Sweep) | $mm | Interest + Sched Prin
Excess Cash | $mm | CFADS - DS - DSRA Funding
Cash Sweep | $mm | MIN(Excess×50%, Beg-Sched)
Total Principal | $mm | Scheduled + Sweep
Ending Balance | $mm | MAX(0, Beg - Total Prin)
DSCR | x | CFADS / Debt Service
Scheduled DS (for DSRA) | $mm | Based on straight-line amort
DSRA (Debt Service Reserve Account)
DSRA Target | $mm | Next Yr Scheduled DS × DSRA Months / 12
DSRA Beginning | $mm
DSRA Funding/(Release) | $mm | Target - Beginning
DSRA Ending | $mm | Beginning + Funding
DISTRIBUTION WATERFALL
Cash Available for Distribution | $mm | CFADS - Total DS - DSRA Fund
Lock-up Test |  | PASS if DSCR ≥ Lock-up
Distributable Cash | $mm | If PASS, MAX(0, Cash Avail)
SOURCES & USES (Year 0)
USES
Purchase Price | $mm
Transaction Fees | $mm
DSRA Funding | $mm
─────────── PROJECT FINANCE COVERAGE ───────────
LLCR (Loan Life Coverage) | x | [WHAT] NPV(CFADS over loan life) / Debt; [WHY] Total debt capacity
PLCR (Project Life Coverage) | x | [WHAT] NPV(CFADS over project life) / Debt; [WHY] Full asset capacity
─────────────────────────────────────────────────
Total Uses | $mm
SOURCES
Debt | $mm
Equity | $mm | Plug to balance
Total Sources | $mm
Balance Check
EXIT CALCULATIONS
Exit EV | $mm | Exit Multiple × Exit Yr EBITDA
Exit Debt Payoff | $mm | Ending Bal at Exit
DSRA Release | $mm | DSRA Ending at Exit
Exit Equity Proceeds | $mm | Exit EV - Debt + DSRA
EQUITY RETURNS
Equity Cash Flow | $mm
Levered IRR | %
MOIC | x | Sum inflows / outflow
Unlevered Returns (for reference)
Unlevered Cash Flow | $mm
Unlevered IRR | %
Note on A82: SPARK SPREAD Profit per MWh after fuel cost. = Power Price - (HR × Gas / 1000) Traders call this "heat rate spread": If Market HR > Plant HR → Profitable Think: "Call option on scarcity"